Addendum #1 – Carthage Downtown Revitalization Phases #1 and #2

This addendum includes the following information:

- Questions received from bidders prior to the closing of the questions period on February 28, 2026

- Revisions to the Construction Documents necessary to provide clarifications and answers to the questions received.

- QUESTIONS

- The following questions were received prior to the closing of the Questions period on February 28, 2026

- Is it possible to install a concrete base for brick pavers, as opposed to the compacted aggregate base?

  - Answer - This may be submitted as an alternate bid for comparison against compacted ABC installation. The final determination will be based on pricing.

- Is there any type of brick protection on the material for this project?

  - Answer - Brick protection has not been specified for this project.

- Is the permeable paver band actually needed? (not sure if there is a drain under this section but looks like a very small permeable paver band)

  - Answer – Perforated under drainage will be needed in this area and will be the responsibility of the chosen contractor to layout according to Manufacturer’s specifications and coordinate with the Design Consultants prior to installation.  Please provide an alternate bid comparison for non-permeable pavers against permeable pavers.

- There are 5 different brick seating wall layouts. Which one did they decide on?

  - Answer – Additional clarification for the different brick wall seating layouts has been included in this Addendum, to the Materials Plan (Sheets L-4.0 & 4.1).  These correspond to the five different layouts indicated on the Curved Brick Seat Wall Layout Detail 2/L-6.3.

    - Only seat walls ‘D’ AND ‘E’ options apart of Design Phase 2 will be constructed in this initial Construction sequence.

- Are there any specs or special provisions? Roadway Improvements bid form reference special provisions.

  - Answer – Special revisions for the Roadway Improvements have been included as apart of Addendum #1

- Confirm if Lump Sum or Unit Price. Instructions to bidders states lump sum but bid form and contract references unit price.

  - Answer – All bids are to be submitted as unit price.

- Confirm we are only to include demo to facilitate phase 1 and 2 work.

  - Answer – Correct, only include demolition to facility Phase 1 and 2 work.  See Phasing Plan (Sheet L-9.0) for outline of Phase 1 and 2 areas.

- Phase 1 Roadway improvements bid form list 8” vertical curb but Roadway typical sections call for 9” vertical curb. Confirm which size is intended.

  - Answer – The curb is to be 9” vertical curb per the Roadway Improvement Plans.  Included is the updated bid form corrected to 9” vertical curb.

- Is Duke installing the 5 new light poles in phase 2 called out as “Proposed Duke Parking Light”?

  - Answer – Yes, Duke will perform the installation of these 5 new light poles.  The selected contractor will need to assist in coordinating the installation of these with their scope.

- Decorative Code Sign is listed in Phase 2 Pedestrian Improvements bid form but not shown in plans. Is this intended for ADA parking sign and bollard?

  - Answer – Correct, this is for the ADA parking sign and bollard.  See Details 6 & 9/L-6.4.  The locations of the ADA signs and bollards are indicated on the Site Furnishings Plan (Sheets L-8.0 and L-8.1).

- Should storm structure CI-5 and CI-9 be grate inlets since phase 3 & 4 curb is not included in this package?

  - Answer – These are grate inlets as designed.  They will sit within a valley curb and not a standard curb.  An updated drainage plan indicating this revision will be submitted via Addendum #2 on Friday 3/06/2026

- Confirm if below structure in phase 2 is curb inlet or hardscape drain inlet. If curb inlet, provide rim and invert.

  - Answer – This is a curb inlet.  An updated drainage plan indicating this revision will be submitted via Addendum #2 on Friday 3/06/2026

- Is below structure a proposed new grate inlet? If so, provide rim/invert and pipe size/length to DB-2.

  - Answer – An updated drainage plan indicating this revision will be submitted via Addendum #2 on Friday 3/06/2026

- Stormwater has nowhere to outlet from CI-7 and CI-9.

  - Answer – An updated drainage plan indicating this revision will be submitted via Addendum #2 on Friday 3/06/2026

- Provide AC Index month

  - Answer – AC Index month is February 2026

- Pine Hall pavers are noted on the site layout & site materials plans for all paver areas.  Details 5 and 6/L-6.0 call for Belden (pedestrian) and Techo-Bloc (permeable/vehicular).  Please clarify the correct paver material to use at all locations.

  - Answer – Belden Brick pavers (City Line – Nutmeg Full Range) are to be used on all pedestrian (Streetscape and Courtyard) pavers

  - Answer – Techo-Bloc pavers (Pure Permeable – Chestnut Brown) are to be used on all permeable/vehicular areas.

  - Answer – Corrections to the Site Layout and Materials Plans (Sheets L-3.0 to 3.4 and L-4.0/4.1) will be issued in Addendum #2 to be posted on 2026.03.05.

- Are “Phase 1 Complete Subtotal”, “Phase 2 Complete Subtotal”, and “Project Total (Phase 1 + Phase 2)” totals on hardscape/landscape bid form intended for hardscape/landscape totals or grand totals for entire scope?

  - Answer – These are totals for the entire project scope (Roadway Improvements, Stormwater/Utilities, & Landscape/Hardscape).